## Hosptial Library
Cerex Shepherd FTIR Hospital Gas Library - Single Gases
| Compound | Formula | CAS No. | MDL | Upper Calibrated Span | Notes
|  |  |  | PPM | PPM
1 | Water Vapor | H2O | 7732-18-5
2 | Carbon Dioxide 2255-2260_SB100 | CO2 | 124-38-9 | 2.7273 | 909.0909
3 | Carbon Monoxide 2156-2175 | CO | 630-08-0 | 0.54545 | 181.8182
4 | Methane 2945-2952 | CH4 | 74-82-8 | 0.37879 | 126.2626
5 | Nitrous Oxide 2132-2290 | N2O | 10024-97-2 | 0.088548 | 29.5159
5 | Nitrous Oxide 2505-2614 | N2O | 10024-97-3 | 6.8182 | 2272.7273
6 | Sevoflurane 1239 | CF3CH(CF3)OCH2F | 28523-86-6 | 0.066196 | 22.0653
7 | Desflurane 978-1275 | CF3CHFOCHF2 | 57041-67-5 | 0.035327 | 11.7758
8 | Isoflurane 1021-1257 | CF3CHClOCHF2 | 26675-46-7 | 0.040584 | 13.5281
9 | Halothane 1248-1295 | CF3CHBrCl | 151-67-7 | 0.074516 | 24.8385
10 | Enflurane 989-1249 | CHF2OCF2CHClF | 13838-16-9 | 0.058777 | 19.5925
11 | Ethylene Oxide 790-950 | C2H4O | 75-21-8 | 0.52448 | 174.8252
11 | Ethylene Oxide 3058-3075 | C2H4O | 75-21-9 | 0.13501 | 45.0045
12 | Formaldehyde 2894-2902 | HCOH | 50-00-0 | 0.29644 | 98.8142
13 | Glutaraldehyde | C5H8O2 | 111-30-8 | 0 |  | Pending
14 | Hydrogen peroxide 1195-1264 | H2O2 | 7722-84-1 | 0.056349 | 18.7829
15 | o-Phthaldehyde (OPA) | C8H6O2 | 643-79-8 | 0 |  | Pending
16 | Methylmethacrylate 1065-1264 | C5H8O2 | 80-62-6 | 0.096712 | 32.2373
17 | Ammonia 954-977 | NH3 | 7664-41-7 | 0.12285 | 40.95
18 | Methanol 950-1100 | CH3OH | 67-56-1 | 0.16835 | 56.1167
19 | Ethanol 950-1160 | C2H5OH | 64-17-5 | 0.43988 | 146.6276
20 | Isopropanol 2700-3050 | CH3CHOHCH3 | 67-63-0 | 0.25729 | 85.7633
20 | Isopropanol 890-1010 | CH3CHOHCH4 | 67-63-1 | 0.80214 | 267.3797
21 | Acetone 1170-1260 | CH3COCH3 | 67-64-1 | 0.36855 | 122.8501
22 | Toluene 2905-2974 | C6H5CH3 | 108-88-3 | 1.7045 | 568.1818
23 | m-Xylene 742-800 | 1,3-(CH3)2C6H4 | 108-38-3 | 0.32468 | 108.2251
24 | o-Xylene 718-770 | 1,2-(CH3)2C6H4 | 95-47-6 | 0.11107 | 37.0235
25 | p-Xylene 756-826 | 1,4-(CH3)2C6H4 | 106-42-3 | 0.31612 | 105.3719

## Cerex Reference Database
Cerex FTIR Analyzer Detectable Compounds
Name | CAS NUM | Formula | Molecular Weights
Acetaldehyde | 75-07-0 | C2H4O | 4.05
Acetic acid, monomer | 64-19-7 | C2H4O2 | 60.05
Acetic acid, mon. and di. | 64-19-7 | C2H4O2
Acetone | 67-64-1 | C3H6O | 58.08
Acetone cyanohydrin | 75-86-5 | C4H7NO | 85.1
Aceto nitrile | 75-05-8 | C2H3N | 41.05
Acetophenone | 98-86-2 | C8H8O | 120.15
Acetyl chloride | 75-36-5 | C2H3ClO | 78.5
Acetyl fluoride | 74-86-2 | C2H2 | 62.04
Acetylene | 74-86-2 | C2H2 | 26.02
Acrolein | 107-02-8 | C3H4O | 56.07
Acrylic acid, monomer | 79-10-7 | C3H4O2 | 72.06
Acrylic acid, mon. + di. | 79-10-7 | C3H4O2
Acrylic acid, mostly mon. | 79-10-7 | C3H4O2
Acrylo nitrile | 107-13-1 | C3H3N | 53.06
Allene | 463-49-0 | C3H4 | 40.06
Allyl alcohol | 107-18-6 | C3H6O | 58.08
Allyl amine | 107-11-9 | C3H7N | 57.1
Allyl bromide | 106-95-6 | C3H5Br | 120.98
Allyl chloride | 107-05-1 | C3H5Cl | 76.53
Allyl iodide | 556-56-9 | C3H5I | 167.98
Allyl isothiocyanate | 57-06-7 | C4H5NS | 99.16
Alpha-Pinene | 80-56-8 | C10H16 | 136.24
Ammonia | 7664-41-7 | H3N | 17.03
Arsine | 7784-42-1 | AsH3 | 77.95
Benzaldehyde | 100-52-7 | C7H6O | 106.12
Benzene | 71-43-2 | C6H6 | 78.11
Benzene thiol (Thio phenol) | 108-98-5 | C6H6S | 110.18
Benzo nitrile | 100-47-0 | C7H5N | 103.12
Benzotrichloride | 98-07-7 | C7H5Cl3 | 195.48
Benzyl Alcohol | 100-51-6 | C7H8O | 108.13
Benzyl bromide | 100-39-0 | C7H7Br | 171
Benzyl chloride | 100-44-7 | C7H7Cl | 126.59
Beta-Picoline | 108-99-6 | C6H7N | 93.13
Beta-Pinene | 127-91-3 | C10H16 | 136.24
Bicyclo[2,2,l]hepta-2,5-diene | 121-46-0 | C7H8 | 92.14
Boron trichloride | 10294-34-5 | BCl3 | 117.19
Boron trifluoride | "7637-07-2" | BF3 | 67.81
Bromobenzene | 108-86-1 | C6H5Br | 157.02
Bromochloromethane | 74-97-5 | CH2BrCl | 129.39
Bromoethane | 74-96-4 | C2H5Br | 108.97
Bromoform | 75-25-2 | CHBr3 | 252.77
Bromo methane | 74-83-9 | CH3Br | 94.94
Bromotrifluoromethane | 75-63-8 | CBrF3 | 148.92
1,3 Butadiene | 106-99-0 | C4H6 | 54.09
Butane | 106-97-8 | C4H10 | 58.12
2-Butanone | 78-93-3 | C4H8O | 72.11
1-Butene | 106-98-9 | C4H8 | 56.1
cis-2-Butene | 590-18-1 | C4H8 | 56.1
trans-2-Butene | 624-64-6 | C4H8 | 56.1
2-Butoxy ethanol | 111-76-2 | C6H14O2 | 118.18
n-Butyl acetate | 123-86-4 | C6H12O2 | 116.16
n-Butyl acrylate | 141-32-2 | C7H12O2 | 128.17
n-Butyl alcohol | 71-36-3 | C4H10O | 74.12
n-Butyl amine | 109-73-9 | C4H11N | 73.14
n-Butyl nitrite | 544-16-1 | C4H9NO2 | 103.12
n-Butyraldehyde | 123-72-8 | C4H8O | 72.11
Carbon dioxide | 124-38-9 | CO2 | 44.01
Carbon disulfide | 75-15-0 | CS2 | 76.14
Carbon monoxide | 630-08-0 | CO | 28.01
Carbon tetrachloride | 56-23-5 | CCl4 | 153.82
Carbonyl fluoride | 353-50-4 | CF2O | 66.01
Carbonyl sulfide | 463-58-1 | COS | 60.07
Chlorine dioxide | 10049-04-4 | ClO2* | 67.46
Chloroacetic acid | 79-11-8 | C2H3ClO2 | 94.5
Chloroacetophenone | 532-27-4 | C8H7ClO | 154.6
Chlorobenzene | 108-90-7 | C6H5Cl | 112.56
2-Chloro-1,3-butadiene | 126-99-8 | C4H5Cl | 88.54
1-Chloro-1,1 difluoroethane | 75-68-3 | C2H3ClF2 | 100.5
Chlorodifluoromethane | 75-45-6 | CHClF2 | 86.47
Chloroethane | 75-00-3 | C2H5Cl | 64.52
2-Chloro ethanol | 107-07-3 | C2H5ClO | 80.52
2-Chloroethyl ethyl ether | 628-34-2 | C4H9ClO | 108.57
Chloroform | 67-66-3 | CHCl3 | 119.39
Chloromethane | 74-87-3 | CH3Cl | 50.49
bis-Chloromethyl ether | 542-88-1 | C2H4Cl2O | 114.95
Chloromethyl methyl ether | 107-30-2 | C2H5ClO | 80.51
Chloropentafluoroethane | 76-15-3 | C2ClF5 | 154.5
Chlorosulfonyl isocyanate | 1189-71-5 | CNClO3S | 141.53
Chlorotetrafluoroethane | 2837-89-0 | C2HClF4 | 136.47
2-Chlorotoluene | 95-49-8 | C7H7Cl | 126.59
4-Chlorotoluene | 106-43-4 | C7H7Cl | 126.59
Chlorotrifluoroethylene | 79-38-9 | C2ClF3 | 116.48
Chlorotrifluoromethane | 75-72-9 | CClF3 | 104.46
m-Cresol | 108-39-4 | C7H8O | 108.14
o-Cresol | 95-48-7 | C7H8O | 108.14
p-Cresol | 106-44-5 | C7H8O | 108.14
Crotonaldehyde | 4170-30-3 | C4H6O | 70.09
Cyanogen | 460-19-5 | C2N2 | 52.04
Cyanogen chloride | 506-77-4 | CClN | 61.48
Cyclohexane | 110-82-7 | C6H12 | 84.16
Cyclohexanol | 108-93-0 | C6H12O | 100.16
Cyclohexanone | 108-94-1 | C6H10O | 98.15
Cyclohexene | 110-83-8 | C6H10 | 82.15
Cyclopentene | 142-29-0 | C5H8 | 68.11
Cyclopropane | 75-19-4 | C3H6 | 42.08
Desflurane | 57041-67-5 | C3H2F6O | 168.04
Diacetone alcohol | 123-42-2 | C6H12O2 | 116.16
Diborane | 19287-45-7 | H6B2 | 27.67
1,2-Dibromo-3-chloropropane | 96-12-8 | C3H5Br2Cl | 236.36
1,2 Dibromoethane | 106-93-4 | C2H4Br2 | 187.87
Cis-trans Dibromoethylene | 540-49-8 | C2H2Br2 | 185.86
Dibromodifluoro methane | 75-61-6 | CBr2F2 | 209.81
Dibromomethane | 74-95-3 | CH2Br2 | 173.85
1,2-Dibromotetrafluoro ethane | 124-73-2 | C2Br2F4 | 259.83
Dibutyl, monobutyl phosphate | 107-66-4 | C8H19O4P | 210.21
m-Dichlorobenzene | 541-73-1 | C6H4Cl2 | 147.01
o-Dichlorobenzene | 95-50-1 | C6H4Cl2 | 147.01
p-Dichlorobenzene | 106-46-7 | C6H4Cl2 | 147.01
Dichlorodifluoromethane | 75-71-8 | CCl2F2 | 120.92
1,1 Dichloroethane | 75-34-3 | C2H4Cl2 | 98.96
1,2 Dichloroethane | 107-06-2 | C2H4Cl2 | 98.96
cis-1,2 Dichloroethylene | 156-59-2 | C2H2Cl2 | 96.94
trans-1,2 Dichloroethylene | 156-60-5 | C2H2Cl2 | 96.94
Dichloroethyl ether | 111-44-4 | C4H8Cl2O | 143.01
1,1-Dichloro-1-fluoro ethane | 1717-00-6 | C2H3ClF2 | 116.92
Dichlorofluoro methane | 75-43-4 | CHCl2F | 102.92
Dichloromethane | 75-09-2 | CH2Cl2 | 84.93
1,2-Dichloropropane | 78-87-5 | C3H6Cl2 | 112.99
1,3-Dichloropropane | 142-28-9 | C3H6Cl2 | 112.99
1,3-Dichloropropene | 542-75-6 | C3H4Cl2 | 110.97
Dichloro silane | 4109-96-0 | H2Cl2Si | 101
1,2-Dichlorotetrafluoroethane | 76-14-2 | C2Cl2F4 | 170.93
Dichlorotrifluoroethane | 306-83-2 | C2HCl2F3 | 152.92
Dicyclopentadiene | 77-73-6 | C10H12 | 132.21
Diethyl amine | 109-89-7 | C4H11N | 73.14
Diethyl ether | 60-29-7 | C4H10O | 74.12
Diethyl ketone | 96-22-0 | C5H10O | 86.13
Diethyl sulfate | 64-67-5 | C4H10O4S | 154.18
Difluoroethane | 75-37-6 | C2H4F2 | 66.05
Difluoromethane | 75-10-5 | CH2F2 | 52.02
Di-isopropyl amine | 108-18-9 | C6H15N | 101.19
Di-isopropyl ether | 108-20-3 | C6H14O | 102.17
Diketene | 674-82-8 | C4H4O2 | 84.07
Dimethoxy methane | 109-87-5 | C3H8O2 | 76.1
N,N-Dimethyl acetamide | 127-19-5 | C4H9NO | 97.12
Dimethyl amine | 124-40-3 | C2H7N | 45.09
2,2-Dimethyl butane | 75-83-2 | C6H14 | 86.18
Dimethyl ether | 115-10-6 | C2H6O | 46.07
N, N-Dimethyl formamide | 68-12-2 | C3H7NO | 73.1
1,1-Dimethyl hydrazine | 57-14-7 | C2H8N2 | 60.1
Dimethyl sulfate | 77-78-1 | C2H6O4S | 126.13
Dimethyl sulfide | 75-18-3 | C2H6S | 62.13
Dimethyl sulfoxide | 67-68-5 | C2H6OS | 78.13
Dinitrogen pentoxide | 10102-03-1 | N2O5 | 108.01
Dinitrogen tetroxide | 10544-72-6 | N2O4 | 92.02
1,4-Dioxane | 123-91-1 | C4H8O2 | 88.1
Dodecane | 112-40-3 | C12H26 | 170.41
Enflurane | 13838-16-9 | C3H2ClF5O | 184.49
Epichlorohydrin | 13403-37-7 | C3H5ClO | 92.53
1,2-Epoxybutane | 106-88-7 | C4H8O | 72.11
Ethane | 74-84-0 | C2H6 | 30.07
Ethanol | 64-17-5 | C2H6O | 46.07
2-Ethoxy ethanol | 110-80-5 | C4H10O2 | 90.12
2-Ethoxy ethyl acetate | 111-15-9 | C6H12O3 | 132.16
Ethyl acetate | 141-78-6 | C4H8O2 | 88.11
Ethyl acetylene | 107-00-6 | C4H6 | 54.09
Ethyl acrylate | 140-88-5 | C5H8O2 | 100.12
Ethyl amine | 75-04-7 | C2H7N | 45.09
Ethyl benzene | 100-41-4 | C8H10 | 106.17
Ethyl butyrate | 105-54-4 | C6H12O2 | 116.1
Ethyl cyanide (nitrile) | 107-12-0 | C3H5N | 75.07
Ethylene | 74-85-1 | C2H4 | 28.05
Ethylene diamine | 107-15-3 | C2H8N2 | 60.1
Ethylene glycol | 107-21-1 | C2H6O2 | 62.07
Ethylene oxide | 75-21-8 | C2H4O | 44.05
Ethylene sulfide | 420-12-2 | C2H4S | 60.12
Ethyl formate | 109-94-4 | C3H6O2 | 74.08
2-Ethyl-1-hexanol | 104-76-7 | C8H18O | 130.23
2-Ethyl hexyl acrylate | 103-11-7 | C11H20O2 | 184.28
Ethyl iodide | 75-03-6 | C2H5I | 155.97
Ethyl mercaptan | 75-08-1 | C2H6S | 62.13
Ethyl nitrite | 109-95-5 | C2H5NO2 | 75.07
Ethyl propionate | 105-37-3 | C5H10O2 | 102.13
2-Ethyl toluene | 611-14-3 | C9H12 | 120.2
3-Ethyl toluene | 620-14-4 | C9H12 | 120.2
Ethyl vinyl ether | 109-92-2 | C4H8O | 72.11
Exxon 87 gasoline | 8006-61-9 | -
Fluoro benzene | 462-06-6 | C6H5F | 96.11
2-Fluoro ethanol | 371-62-0 | C2H5FO | 64.06
Formaldehyde | 50-00-0 | CH2O | 30.03
Formic acid, monomer | 64-18-6 | CH2O2 | 46.03
Furan | 110-00-9 | C4H4O | 68.07
Germane | "7782-65-2" | H4Ge | 76.62
Glyceryl trinitrate | 55-63-0 | C3H5N3O9 | 227.09
Halothane | 151-67-7 | C2HBrClF3 | 197.39
n-Heptane | 142-82-5 | C7H16 | 100.21
1-Heptene | 592-76-7 | C7H14 | 98.9
Hexachloro-1,3-butadiene | 87-68-3 | C4Cl6 | 260.76
Hexachlorocyclopentadiene | 77-47-4 | C5Cl6 | 272.77
Hexachloroethane | 67-72-1 | C2Cl6 | 236.74
Hexafluoro acetone | 684-16-2 | C3F6O | 166
Hexafluoropropene | 116-15-4 | C3F6 | 150.02
Hexamethyl phosphoramide | 680-31-9 | C6H18N3OP | 179.2
n-Hexane | 110-54-3 | C6H14 | 86.18
Hexafluoro ethane | 76-16-4 | C2F6 | 138.01
Hexanoic acid | 142-62-1 | C6H12O2 | 116.16
2-Hexanone | 591-78-6 | C6H12O | 100.16
1-Hexene | 592-41-6 | C6H12 | 84.16
Hexyl acetate | 142-92-7 | C8H16O2 | 144.21
Hydrazine | 302-01-2 | H4N2 | 32.05
Hydrogen bromide | 10035-10-6 | BrH | 80.92
Hydrogen chloride | 7647-01-0 | HCl | 36.46
Hydrogen cyanide | 74-90-8 | CHN | 27.06
Hydrogen fluoride | 7664-39-3 | HF | 20.01
Hydrogen Iodide | 10034-85-2 | HI | 127.92
Hydrogen peroxide | 7722-84-1 | H2O2 | 34.02
Hydrogen sulfide | 7783-06-4 | H2S | 34.08
Iodomethane | 74-88-4 | CH3I | 141.94
2-Iodopropane | 75-30-9 | C3H7I | 169.99
Iron pentacarbonyl | 13463-40-6 | C5FeO5 | 195
Isoamyl alcohol | 123-51-3 | C5H12O | 88.15
Isobutane | 75-28-5 | C4H10 | 58.12
Isobutanol | 78-83-1 | C4H10O | 74.12
Isobutyl acetate | 110-19-0 | C6H12O2 | 116.16
Isobutylene | 115-11-7 | C4H8 | 56.1
Isocyanic acid | 75-13-8 | CHNO | 43.03
Isoflurane | 26675-46-7 | C3H2ClF5O | 184.49
Isooctane | 540-84-1 | C8H18 | 114.23
Isophorone | 78-59-1 | C9H14O | 138.21
Isoprene | 78-79-5 | C5H8 | 68.12
Isopropanol | 67-63-0 | C3H8O | 60.1
Isopropyl acetate | 108-21-4 | C5H10O2 | 102.13
Isopropyl amine | 75-31-0 | C3H9N | 59.11
Isopropylbenzene | 98-82-8 | C9H12 | 120.2
Isopropyl chloride | 75-29-6 | C3H7Cl | 78.54
K-1 Kerosene | 8008-20-6 | -
Limonene | 138-86-3 | C10H16 | 136.24
Maleic anhydride | 108-31-6 | C4H2O3 | 98.06
Mesitylene | 108-67-8 | C9H12 | 120.2
Methacryloyl chloride | 920-46-7 | C4H5ClO | 104.54
Methane | 74-82-8 | CH4 | 16.04
Methane sulfonyl chloride | 124-63-0 | CH3ClO2S | 114.55
Methanol | 67-56-1 | CH4O | 32.04
Methyl acetate | 79-20-9 | C3H6O2 | 74.08
Methyl acrylate | 96-33-3 | C4H6O2 | 86.09
Methyl acrylo nitrile | 126-98-7 | C4H5N | 67.09
Methyl amine | 74-89-5 | CH5N | 31.06
2-Methyl butane | 78-78-4 | C5H12 | 72.15
2-Methyl-2-butene | 513-35-9 | C5H10 | 70.14
3-Methyl-1-butene | 563-45-1 | C5H10 | 70.14
Methyl chloro disilanes | 1590-87-0 | CH7Si2Cl | 110.69
Methyl chloro formate | 79-22-1 | C2H3ClO2 | 94.5
Methyl fluoride | 593-53-3 | CH3F | 34.04
Methyl formate | 107-31-3 | C2H4O2 | 60.05
Methyl hydrazine | 60-34-4 | CH6N2 | 46.07
Methyl isoamyl ketone | 110-12-3 | C7H14O | 114.19
Methyl isobutyl ketone | 108-10-1 | C6H12O | 100.16
Methyl isocyanate | 624-83-9 | C2H3NO | 57.05
Methyl isothiocyanate | 556-61-6 | C2H3NS | 73.12
Methyl mercaptan | 74-93-1 | CH4S | 48.11
Methyl methacrylate | 80-62-6 | C5H8O2 | 100.12
Methyl nitrite | 624-91-9 | CH3NO2 | 61.04
2-Methyl pentane | 107-83-5 | C6H14 | 86.18
3-Methyl pentane | 96-14-0 | C6H14 | 86.18
2-Methyl-1-pentene | 763-29-1 | C6H12 | 84.16
2-Methyl-2-pentene | 625-27-4 | C6H12 | 84.16
cis-4-Methyl-2-pentene | 691-38-3 | C6H12 | 84.16
Methyl trichloro silane | 75-79-6 | CH3Cl3Si | 149.48
Methyl tert-butyl ether | 1634-04-4 | C5H12O | 88.15
Methyl vinyl ether | 107-25-5 | C3H6O | 58.08
Methyl vinyl ketone | 78-94-4 | C4H6O | 70.09
Naphthalene | 91-20-3 | C10H8 | 128.17
Nickel carbonyl | 13463-39-3 | C4NiO4 | 170.75
Nitric acid | 7697-37-2 | HNO3 | 63.02
Nitric oxide | 10102-43-9 | NO | 30.01
Nitro benzene | 98-95-3 | C6H5NO2 | 123.11
Nitro ethane | 79-24-3 | C2H5NO2 | 75.07
Nitrogen dioxide | 10102-44-0 | NO2 | 46.01
Nitrogen dioxide (and N2O4 or Dinitrogen tetroxide) | 10544-72-6 | N2O4
Nitro methane | 75-52-5 | CH3NO2 | 61.04
Nitrogen trifluoride | 7783-54-2 | F3N | 71.01
1-Nitropropane | 108-03-2 | C3H7NO2 | 89.09
2-Nitropropane | 79-46-9 | C3H7NO2 | 89.09
Nitroso benzene | 586-96-9 | C6H5NO | 107.11
N-Nitroso dimethyl amine | 62-75-9 | C2H6N2O | 74.08
Nitroso morpholine | 59-89-2 | C4H8N2O2 | 117.12
Nitrosyl Chloride | 2696-92-6 | ClNO | 65.46
Nitrous acid | 7782-77-6 | HNO2 | 47.02
Nitrous oxide | 10024-97-2 | N2O | 44.02
1-Nonanol | 143-08-8 | C9H20O | 144.26
1-Nonene | 124-11-8 | C9H18 | 126.24
Octafluoro propane | 76-19-7 | C3F8 | 188
Octafluorocyclobutane | 115-25-3 | C4F8 | 200.04
n-Octane | 111-65-9 | C8H18 | 114.2
Octamethylcyclotetrasiloxane | 556-67-2 | C8H24O4Si4 | 296.62
Octamethyltrisiloxane | 107-51-7 | C8H24O2Si3 | 236
Ozone | 10028-15-6 | O3 | 48
Pentaborane | 19624-22-7 | B5H9 | 63.12
Pentafluoroethane | 354-33-6 | C2HF5 | 120.02
n-Pentane | 109-66-0 | C5H12 | 72.15
1-Pentanol | 71-41-0 | C5H12O | 88.15
2-Pentanol | 6032-29-7 | C5H12O | 88.15
2-Pentanone | 107-87-9 | C5H10O | 86.13
1-Pentene | 109-67-1 | C5H10 | 70.14
2-Pentene | 109-68-2 | C5H10 | 70.14
Pentafluoroethane | 354-33-6 | C2HF5 | 120.02
Pentafluoro sulfur methyl trifluoride | Not available | CF8S | 196.06
Perfluorobutane | 355-25-9 | C4F10 | 214.02
Perfluoropentane | 678-26-2 | C5F12 | 288.05
Peroxy acetyl nitrate | 2278-22-0 | C2H3NO5 | 121.03
Phenol | 108-95-2 | C6H6O | 94.11
Phosgene (Carbonyl chloride) | 75-44-5 | CCl2O | 98.92
Phosphine | 7803-51-2 | H3P | 34
Phosphorus trichloride | "7719-12-2" | Cl3P | 137.35
Phosphoryl chloride | 10025-87-3 | Cl3OP | 153.35
Propane | 74-98-6 | C3H8 | 44.1
n-Propanol | 71-23-8 | C3H8O | 60.1
1-Propane thiol | 107-03-9 | C3H8S | 76.16
b-Propiolactone | 57-57-8 | C3H4O2 | 72.06
Propionaldehyde | 123-38-6 | C3H6O | 58.08
Propionic acid, mon. and di. | 79-09-4 | C3H6O2
Propionic acid, mostly monomer | 79-09-4 | C3H6O2 | 74.09
n-Propyl acetate | 109-60-4 | C5H10O2 | 102.13
n-Propylbenzene | 103-65-1 | C9H12 | 120.2
Propylene | 115-07-1 | C3H6 | 42.08
Propylene glycol m,e Acetate | 108-65-6 | C6H12O3
Propylene imine | 75-55-8 | C3H7N | 57.09
Propylene oxide | 75-56-9 | C3H6O | 58.08
n-Propyl nitrate | 627-13-4 | C3H7NO3 | 105.09
Propyne (Methyl acetylene) | 74-99-7 | C3H4 | 42.08
Pyridine | 110-86-1 | C5H5N | 79.1
Quinoline | 91-22-5 | C9H7N | 129.16
Sevoflurane | 28523-86-6 | C4H3F7O | 200.06
Silane | 7803-62-5 | H4Si | 32.09
Silicon tetrachloride | 10026-04-7 | Cl4Si | 169.89
Silicon tetrafluoride | 7783-61-1 | F4SI | 104.06
Styrene | 100-42-5 | C8H8 | 104.15
Styrene oxide | 96-09-3 | C8H8O | 120.15
Sulfur dioxide | "7446-09-5" | O2S | 64.07
Sulfur hexafluoride | 2551-62-4 | F6S | 146.07
Sulfur monochloride | 10025-67-9 | Cl2S2 | 135.03
Sulfuryl chloride (SO2Cl2) | 7791-25-5 | Cl2O2S | 134.97
Sulfuryl fluoride (SO2F2) | 2699-79-8 | F2O2S | 102.07
Tertiary butyl benzene | 98-06-6 | C10H14 | 134.22
1,1,1,2 Tetrachloroethane | 630-20-6 | C2H2Cl4 | 167.85
1,1,2,2-Tetrachloroethane | 79-34-5 | C2H2Cl4 | 167.85
Tetrachloroethylene | 127-18-4 | C2Cl4 | 165.83
1,1,1,2-Tetrafluoroethane | 811-97-2 | C2H2F4 | 102.02
1,1,2,2-Tetrafluoroethane | 359-35-3 | C2H2F4 | 102.02
Tetrafluoromethane | 75-73-0 | CF4 | 88
Tetrahydrofuran | 109-99-9 | C4H8O | 72.11
Tetrahydrothiophene | 110-01-0 | C4H8S | 88.17
Thio glycol | 60-24-2 | C2H6OS | 78.13
Thionyl chloride | "7719-09-7" | Cl2OS | 118.98
Thiophene | 110-02-1 | C4H4S | 84.14
Thiophosgene | 463-71-8 | CCl2S | 114.99
Thiophosphoryl chloride | 3982-91-0 | Cl3PS | 169.42
Toluene | 108-88-3 | C7H8 | 92.14
2,4-Toluene diisocyanate | 584-84-9 | C9H6N2O2 | 174.16
o-Toluidine | 95-53-4 | C7H9N | 107.16
Tribromomethane | 75-25-2 | CHBr3 | 252.77
Tributyl phosphate | 126-73-8 | C12H27O4P | 266.32
Trichloro acetyl chloride | 76-02-8 | C2Cl4O | 181.83
1,2,4-Trichlorobenzene | 120-82-1 | C6H3Cl3 | 181.45
1,1,1 Trichloroethane | 71-55-6 | C2H3Cl3 | 133.41
1,1,2 Trichloroethane | 79-00-5 | C2H3Cl3 | 133.41
Trichloroethylene | 79-01-6 | C2HCl3 | 131.39
Trichlorofluoromethane | 75-69-4 | CCl3F | 137.4
Trichloronitromethane (Chloropicrin) | 76-06-2 | CCl3NO2 | 164.38
2,4,5-Trichlorophenol | 95-95-4 | C6H3Cl3O | 197.45
2,4,6-Trichlorophenol | 88-06-2 | C6H3Cl3O | 197.45
1,2,3-Trichloropropane | 96-18-4 | C3H5Cl3 | 147.43
Trichlorotrifluoroethane | 76-13-1 | C2Cl3F3 | 187.38
Triethylamine | 121-44-8 | C6H15N | 101.19
Trifluoroacetic acid, mon. and di. | 76-05-1 | C2HF3O2 | 144.02
Trifluoroacetic acid, mostly mon. | 76-05-1 | C2HF3O2 | 144.02
Trifluoroacetic anhydride | 407-25-0 | C4F6O3 | 210.03
1,1,1-Trifluoro acetone | 421-50-1 | C3H3F3O | 112.05
Trifluoroacetyl fluoride | 354-34-7 | C2F4O | 116.01
Trifluoroethane | 27987-06-0 | C2H3F3 | 84.02
Trifluoro methyl iodide | 2314-97-8 | CF3I | 195.9
Trifluoromethane | 75-46-7 | CHF3 | 70.01
Trimethyl amine | 75-50-3 | C3H9N | 59.11
1,2,4-Trimethyl benzene | 95-63-6 | C9H12 | 120.2
2,2,4-Trimethyl pentane | 540-84-1 | C8H18 | 114.23
Tungsten hexafluoride | 7783-82-6 | F6W | 297.86
Vinyl acetate | 108-05-4 | C4H6O2 | 86.09
Vinyl bromide | 593-60-2 | C2H3Br | 106.96
Vinyl chloride | 75-01-4 | C2H3Cl | 62.5
Vinylidene chloride | 75-01-4 | C2H3Cl | 96.94
Vinylidene fluoride | 75-38-7 | C2H2F2 | 64.04
Water | 7732-18-5 | H2O | 18.02
m-Xylene | 108-38-3 | C8H10 | 106.17
o-Xylene | 95-47-6 | C8H10 | 106.17
p-Xylene | 106-42-3 | C8H10 | 106.17

## NOTES
Libraries are collections of spectra and analyzer instructions for use in real time monitoring. The core information contained within the library are digital reference absorbance spectra recorded at known concetrations of gases. Databases contain the raw absorbance files which are used in Library creation. The Cerex database contains about 350 unique compound reference spectra that are supplied with the analyzer and these may be used to build custom and application specific libraries at no additional cost. The software necessary for this process, Cerex Data Processor toolset, is included with the analyzer. In additon to the Cerex reference database, spectra within USEPA, PNNL, NIST, etc... databases may be used for library creation or modification provided the spectra are in .txt, .csv or .spc file format. Chemical Weapon Compound libraries and absorbance references and some precusrsor CWA references are not available for export from the U.S.A.